## Sheet1
Tank Disinfection
Enter Gallons |  | Gallons
Enter Concentration |  | PPM
The amount of Chlorine required is |  |  | 0 | Pounds
The amount of HTH required is |  |  | 0 | Pounds
The amount of Clorox required is |  |  | 0 | Gallons
(Make sure the label says 6% Sodium Hypochlorite)
Pipe Disinfection
Enter Pipe Diameter | 4 | Inches
Enter Length of Line | 123 | Feet
Volume of Pipe | 80.2479 | Gallons
Enter Concentration | 50 | PPM
The amount of Chlorine required is |  |  | 0.033463 | Pounds
The amount of HTH required is |  |  | 0.051482 | Pounds
The amount of Clorox required is |  |  | 0.066927 | Gallons
(Make sure the label says 6% Sodium Hypochlorite)